May 12, 2005

# Counter Settings Ortek 994 Dual Counter/Timer for TPC

W1               Live Time/ Normal Measurement Mode

W2       

W3                Counts/Time Source Ch. A

W4                Time/Counts Source Ch. B

    -

W5                   Input A polarity  (“-“ selected)

    +

W6                -/+ Input B polarity (“-“ selected)